Contents Page

Acknowledgement									      v

List of Abbreviations                                                                                         vi

List of Figures                                                                                                  viii

List of Tables                                                                                                      x

Abstract                                                                                                              xi

Chapter 1: Introduction                                                                                     1

1.1 Legislation                                                                                                      1

1.1.1 Misuse of Drugs Act 1971                                                                1

1.1.2 Misuse of Drug Regulations 2001                                                    2

1.1.3 The Medicines Act 1968                                                                   3

1.1.4 Drug Harm and the law                                                                    3

1.1.5 Road Traffic Act 1988                                                                      3

1.1.6 The Railways and Transport Safety Act 2003                                  4

1.2 Prevalence                                                                                                     5

1.2.1 Prevalence of drug use                                                                    5

1.2.2 Prevalence of drug use and driving                                                  6

1.3 Common Illicit Drugs                                                                                      7

1.3.1 Cocaine                                                                                            7

1.3.1.1 Metabolism                                                                         9

1.3.2 Amphetamines                                                                               11

1.3.2.1 Metabolism                                                                       14

1.3.3 MDMA                                                                                            14

1.3.3.1 Metabolism                                                                       16

1.3.4 Ketamine                                                                                        16

1.3.4.1 Metabolism                                                                       18

1.3.5 Gamma-Hydroxybutyric Acid                                                         18

1.4 Raman Spectroscopy                                                                                  21

1.4.1 Basic theory of Raman Spectroscopy                                            21

1.4.2 Advantages of Raman Spectroscopy                                             23

1.4.3 Disadvantages of Raman Spectroscopy                                        23

1.4.4. Surface Enhanced Raman Spectroscopy                                     24

1.4.5 Previous Research                                                                         24

1.4.6 Previous research by the Author                                                    26

1.5 Oral fluid                                                                                                       27

1.5.1  ROSITA                                                                                         28

1.5.2 Advantages of oral fluid                                                                  28

1.5.3 Disadvantages of oral fluid                                                             29

1.6 North Review                                                                                               30

1.7 TruScan Background                                                                                   31

1.7.1 How TruScan works                                                                       31

1.8 Aim                                                                                                               32

Chapter 2:  Method                                                                                          33

2.1 Materials                                                                                            33

2.2  Instrument                                                                                        33

2.3 Creating a Library                                                                              35

2.4 Creating a Method                                                                             36

2.5 Running a Sample                                                                             38

2.6 KGHB in alcohol                                                                                40

2.7 Mixture Analysis                                                                                40

2.8 Oral Fluid Analysis                                                                            41

2.9 SERS sample preparation and method                                             42

Chapter 3: Results                                                                                           43

3.1 Creating a Library                                                                              43

3.2 KGHB in Alcohol                                                                               44

3.3 Mixture Analysis                                                                              44

3.4 Oral fluid analysis                                                                              58

3.5 Limit of Detection of KGHB in Oral Fluid                                           60

3.6 SERS and Oral fluid analysis                                                            62

Chapter 4: Discussion                                                                                     65

4.1 Library                                                                                               65

4.2 KGHB in alcohol                                                                                65

4.3 Mixture analysis                                                                                66

4.4 Oral fluid analysis                                                                              69

4.5 Limit of detection in oral fluid                                                             69

4.6 SERS and oral fluid analysis                                                             69

4.7 Further Research                                                                              71

Chapter 5: Conclusion                                                                                     72

Chapter 6: References                                                                                     73

Appendix 1                                                                                                        79

Appendix 2                                                                                                        81

Acknowledgment

I would like to thank my supervisor, Yvonne Cruickshank for all support and advice as well as Dr Kevin Smith for encouraging me to pursue a Masters by Research.

I would also like to thank Raabell Shah for her help and the insightful discussions we have had which have been very valuable.

I am also very grateful to Lora Stevenson for her assistance and Craig Dixon for his support, help and understanding throughout.

The support of my parents and grandmother have made it possible for me to pursue a Masters by Research and I am eternally grateful to them as well as my little sister, Holly, who was always available to encourage me, make me laugh and help me with her brilliant word processing skills!

Abbreviations

µl- Micro litres

AEME – Anhydroecgonine Methyl Ester

BCS – British Crime Survey

CNS – Central Nervous System

DAT – Dopamine transporter

DFSA –Drug facilitated sexual assault

EMCDDA – European Monitoring Centre for Drugs and Drug Addiction

EME – Ecgonine methyl ester

FIT – Field Impairment Test

G – Grams

GBL – Gamma Butryolactone

GC/MS – Gas Chromatography/Mass Spectrometry

GHB – Gamma – Hydroxybutyric acid

IM – Intramuscular

IR – Infrared

IV – Intravenous

KGHB - Potassium Gamma Hydroxybutyric acid

Lbs – Pounds

LC – MS – MS – Liquid Chromatography, tandem mass spectrometry

LOD – Limit of detection

LSD – lysergic acid diethylamide

MAO – Monamine Oxldase

MDE – methylenedioxyethylamphetamine

MDMA – 3,4 – methylenedioxymethamphetamine

Mg – Milligrams

ML –Millilitre

mW - MilliWatts

NA – Noradrenalin

NAGHB – Sodium Gamma Hydroxybutyric acid

NG – Nanograms

NM – Wavelength

NMDA – N – methyl – D – aspartate

OTC – Over the counter

pH – Percentage Hydrogen

ROSITA – Roadside Testing Assessment

RPM- Revolutions per minute

SCJS – Scottish Crime and Justice Survey

SERS – Surfaced Enhanced Raman Spectroscopy

SOP- Standard Operating Procedure

UK – United Kingdom

USA – United States of America

V/V – Volume/Volume

W/V – Weight/Volume

List of Figures

Figure 1.1 Estimated number of drug users for each drug in 2009                      6

Figure 1.2 Cocaine chemical structure						      8

Figure 1.3 Pathways of Cocaine metabolism					    11

Figure 1.4 Mechanism of action for Amphetamine                                            13

Figure 1.5 Chemical structure of MDMA                                                            15

Figure 1.6 Chemical structure of Ketamine                                                        17

Figure 1.7 Chemical structure of gamma-hydroxybutric acid                             18

Figure 1.8 The three different types of Raman scattering                                  22

Figure 1.9 KGHB in ethanol compared to neat ethanol spectra                        26

Figure 1.10 TruScan PASS/FAIL system						    32

Figure 2.1 TruScan and DXR 							    34

Figure 2.2 TruScan portable Raman spectrometer                                            35

Figure 2.3 TruScan main menu                                                                         36

Figure 2.4 Method management on PC                                                             38

Figure 2.5 TruScan focussed on white powder                                                  41

Figure 3.1 Cocaine hydrochloride reference spectra                                         43

Figure 3.2 KGHB and ethanol comparison 					    44

Figure 3.3 Cocaine, Benzocaine mix 1 compared with Cocaine and

Benzocaine reference spectra                                                                          47

Figure 3.4 Cocaine, Benzocaine mix 2 compared with Cocaine and

Benzocaine reference spectra                                                                          47

Figure 3.5 Cocaine, Benzocaine mix 3 compared with Cocaine and

Benzocaine reference spectra                                                                         48

Figure 3.6 Cocaine, Benzocaine, caffeine mix 1 compared with

reference spectra                                                                                              51

Figure 3.7 Cocaine, Benzocaine, caffeine mix 2 compared with

reference spectra                                                                                              52

Figure 3.8 Cocaine, Benzocaine, caffeine mix 3 compared with reference spectra                                                                                                              52

Figure 3.9 Cocaine, Benzocaine, caffeine and paracetamol mix 1

compared with reference spectra                                                                      57  Figure 3.10 Cocaine, Benzocaine, caffeine and paracetamol mix 2

compared with reference spectra                                                                      57

Figure 3.11 Cocaine, Benzocaine, caffeine and paracetamol mix 3

compared with reference spectra                                                                      58

Figure 3.12 Pure KGHB spectra taken from previous study                              58

Figure 3.13 2mg of Cocaine hydrochloride in 1ml oral fluid                               59

Figure 3.14 2mg Amphetamine sulphate in 1ml oral fluid                                  60

Figure 3.15 KGHB limit of detection 1                                                                60

Figure 3.16 KGHB limit of detection 2                                                                61

Figure 3.17 KGHB limit of detection 3                                                                61

Figure 3.18 0.5ml GHB in 0.5ml oral fluid                                                          62

Figure 3.19 Comparison of SERS spectra 1                                                      64

Figure 3.20 Comparison of SERS spectra 2                                                      64

Figure 4.1 Blank dimple tray and SERS KGHB in OF comparison                    70

List of Tables

Table 1.1 KGHB and GBL peak comparison                                                     27

Table 3.1 Cocaine and Benzocaine mix run results                                           45

Table 3.2 Cocaine, Benzocaine, Caffeine mix run results                                 49

Table 3.3 Cocaine, Benzocaine, Caffeine, Paracetamol mix

run results                                                                                                         54

Table 3.4 Common peaks neat KGHB and KGHB in oral fluid                          59

Table 3.5 Common peaks to KGHB, KGHB in oral fluid and SERS

KGHB in oral fluid                                                                                              63

Table 4.1 Handheld and bench-top Raman comparison                                   66

Table 4.2 Number of peaks common to cocaine reference spectra                  67

Table 4.3 Number of peaks common to benzocaine reference spectra            68

Abstract

The main piece of legislation which addresses illicit drugs in the UK is the Misuse of Drugs Act 1971. The Act was designed to prevent the use of drugs which are 'capable of having harmful effects sufficient to constitute a social problem'.

The Road Traffic Act 1988 is the main piece of legislation which covers drink and drug driving offences in the UK.

Two positive test results from scientifically different methods are required to prove impairment. The first is a Field Impairment Test (FIT test) which is subjective. The FIT is a roadside test assessing behaviour, concept of time and demeanour. This provides police officers an indication of whether the individual is impaired through drink or drugs. There is currently no other accepted roadside test to determine if motorists are driving under the influence of drugs.

Raman Spectroscopy is a type of vibrational spectroscopy used to determine information on chemical structure and the physical form of a substance by focussing a laser on the sample; it is able to provide a chemical fingerprint of illicit drugs. Surfaced Enhanced Raman Spectroscopy (SERS) uses Nano scale metal structures to enhance the Raman effect making it six times or more sensitive than Raman Spectroscopy.

This study developed a method of using a TruScan Raman handheld device to screen for drugs of abuse in mixtures, alcohol and oral fluid. It was found that the TruScan device was not effective in detecting drugs in alcohol or mixtures but it was able to detect KGHB in oral fluid down to a 30% v/v concentration.